A LAYMAN’S OVERVIEW OF 1-WIRE TECHNOLOGY AND ITS USE

INTRODUCTION

Dallas Semiconductor has designed and developed technology based on a single bus master and multiple slaves that transmits digital communications and operating power for the slaves over a single twisted pair cable. An important factor of the technology is that every slave has a globally unique digital address. Called 1-Wire, since it uses a single wire (plus ground) to accomplish both communication and power transmission, the technology has found application in a number of areas. This paper will briefly discuss the protocol and introduce a variety of applications.

# WHAT IS THE 1-WIRE NET?

The 1-Wire net is a low cost bus based on a PC or microcontroller communicating digitally over twisted pair cable with 1-Wire components. The network is defined with an open drain (wired-AND) master/slave multidrop architecture that uses a resistor pull-up to a nominal 5V supply at the master. A 1-Wire net-based system consists of three main elements: (1) a bus master with controlling software such as TMEX™ iButton Viewer, (2) wiring and associated connectors and (3) 1-Wire devices. The system allows tight control because no node is allowed to speak unless requested by the master, and no communication is allowed between slaves, except through the master.

1-Wire protocol uses conventional CMOS/TTL logic levels with operation specified over a supply voltage range of 2.8 to 6 volts. Both master and slaves are configured as transceivers allowing bit sequential data to flow in either direction, but only one direction at a time, with data read and written least significant bit first. An economical DS9097U COM Port Adapter is available to interface RS232 to the net. Plus a DS2480 Serial 1-Wire Line Driver chip is also available to generate the proper signals and programmable waveforms that provide maximum performance.

Data on the 1-Wire net is transferred with respect to time slots, for example, to write a logic one to a slave, the master pulls the bus low for 15 microseconds or less. To write a logic zero, the master pulls the bus low for at least 60 microseconds to provide timing margin for worse case conditions. A system clock is not required, as each 1-Wire part is self-clocked by its own internal oscillator that is synchronized to the falling edge of the master. Power for chip operation is derived from the bus during idle communication periods when the DATA line is at 5V by including a half wave rectifier onboard each slave.

Figure 1 1-Wire input structure showing the parasite power circuit.

In Figure 1, whenever the data line is pulled high the diode in the half wave rectifier turns on and charges an on-chip capacitor. When the voltage on the net drops below the voltage on the capacitor, the diode is reverse biased, which isolates the charge. The resulting charge provides the energy source to power the slave during the intervals the net is pulled low. The amount of charge lost during these periods is replenished when the data line returns high. This concept of “stealing” power from the net by a half wave rectifier is referred to as “parasite power”.

When communicating, the master resets the network by holding the bus low for at least 480 microseconds, releasing it, and then looking for a responding Presence pulse from a slave connected to the line. If a Presence pulse is detected, it then accesses the slave by calling its address, controlling the information transfer by generating time slots and examining the response from the slave. Once this handshake is successful, the master issues necessary device specific commands, and performs any needed data transfers between it and the slave. The master is able to select out a single slave out of many on the net because of its unique digital address.

A UNIQUE ADDRESS FOR EVERY PART

Within each 1-Wire slave created is stored a lasered ROM section with its own guaranteed unique, 64-bit serial number that acts as its node address. This globally unique address is composed of eight bytes divided into three main sections. Starting with the LSB, the first byte stores the 8-bit family codes that identify the device type. The next 6 bytes store a customizable 48-bit individual address while the last byte (MSB) contains a cyclic redundancy check (CRC) with a value based on the data contained in the first seven bytes. This allows the master to determine if an address was read without error. With a 248 serial number pool, conflicting or duplicate node addresses on the net will never be a problem.

Because 1-Wire devices can be formatted with a file directory just like a floppy disk, files can be randomly accessed and changed without disturbing other records. Information is read or written when the master addresses a device connected to the bus, or an iButton is touched to a probe somewhere along the 1-Wire net. The inclusion of up to 64K of memory in 1-Wire chips allows standard information such as employee name, ID number, security level, etc., to be stored within the device. Maximum data security can be provided by a 1-Wire chip implementation of the US government-certified Secure Hash Algorithm (SHA-1).

An iButton consists of a 1-Wire chip mounted in a stainless steel coin style battery case 16mm in diameter, and 5.8mm thick. The two piece stainless steel package acts as both the protective housing and electrical connections. The case serves as return contact (ground), and the lid as data contact. The package size allows inclusion of a lithium cell able to provide 10 years of standby power to maintain data in volatile RAM memory, run a Real Time Clock, time stamp events or log data. A typical access port for an iButton consists of an outer ring with insulated spring loaded center conductors mounted in an appropriate housing. The ring touches the case of the iButton and connects it to the bus ground line while the spring loaded center contact connects the lid to the bus data line. Having reviewed the essentials of the technology, let’s examine some of the hardware available and its use in practical circuits.

Historically, the 1-Wire net was envisioned as a single twisted pair routed throughout the area of interest with 1-Wire slaves being attached in daisy chain fashion where needed. However, if the network is heavily loaded, it may be preferable or even necessary, to separate the bus into sections. This has the added benefit of providing information about the physical location of a 1-Wire device on the bus, which facilitates trouble-shooting. By using one section as the main “trunk”, and adding or removing segment “branches” with a DS2409 as needed, a true 1-Wire net is created, while reducing the load seen by the bus master to that of the trunk and those segments connected to it by activated DS2409’s.

Consequently, the DS2409 MicroLAN Coupler is a key component for creating complex 1-Wire nets. It contains MAIN and AUX transmission gate outputs and an open drain output transistor (CONT), each of which can be remotely controlled by the bus master. A simple 1-Wire branch with DS2430 EEPROM connected to label the node is shown in Figure 2. This provides tagging information specific to that particular node such as location, function, etc. The LED attached to the CONT output provides visual indication of the specific branch being addressed and can be blinked via software for extra visual impact. A single DS18x20 Digital Thermometer is shown on the branch output but multiple 1-Wire devices may be placed as required.

Figure 2  Separating the 1-Wire bus into branches using the DS2409 MicroLAN Coupler.

GENERAL PURPOSE 1-WIRE NET EXAMPLE

Combining the DS2409 with its DS2406 low side cousin provides the means to build a general-purpose 1-Wire net. Figure 3 shows two DS2409s being used to select an arbitrary row, while a single dual DS2406 low-side switch is used to select an arbitrary column. As shown, they form a simple 2x2 array with LED’s to visually indicate the specific intersection being addressed by the bus master. However, the array may be easily expanded in either the X or Y direction by the addition of more DS2409s and/or DS2406s. In this manner an M by N array of arbitrary size may be implemented limited only by net loading.

In operation, the master selects the AUX output of the DS2409 that controls the row of interest, and the column output of the corresponding DS2406 that intersects that row at the required position. For example, if the AUX output of the top DS2409 and the B output of the DS2406 are both turned on, the position in the upper right hand corner of Figure 3 is selected as highlighted with heavy lines. This connects the iButton probe at the intersection of the selected row and column to the master so the serial number of the 1-Wire device (if any) at that point can be read. To indicate which intersection is being addressed, the master switches the selected DS2409 from its AUX output to its Main output. By default this causes the CONT pin to turn on, grounding the gate of the associated pMOS transistor and turning it on. With the pass transistor on, power is supplied to the LED at the selected intersection and turns it on. If desired, the DS2409 can be switched repeatedly between Main and AUX causing the LED to blink for greater visual effect. If the Main outputs of all DS2409s are turned on, the LED’s in the entire column of the selected DS2406 turn on. Alternatively, if the outputs of all DS2406s are turned on, the LED’s in the entire row of the selected DS2409 turn on. Consequently, it follows that turning on all column and row switches illuminates the entire array, which serves as a convenient test to verify that the system, is fully functional. While a DS9092 iButton probe was shown in the example, obviously solder mount 1-Wire devices could be used as well.

Figure 3  Using DS2409s and DS2406s to form a general purpose 1-Wire net with visual indicators.

ADDRESSABLE DIGITAL INSTRUMENTS (ADI)

In addition to 1-Wire control chips such as the DS2406 and DS2409, several digital functions such as temperature sensors and analog-to-digital (ADCs) converters are available. These make it possible to measure a wide variety of physical properties over the 1-Wire net. A distinct advantage of 1-Wire instruments is that all communicate using 1-Wire protocol regardless of the particular property (voltage, current, resistance, etc.) being measured. Other methods employ a variety of signal-conditioning circuitry such as instrumentation amplifiers and voltage-to-frequency converters, which of necessity makes their outputs different and often requires separate cables for each sensor. The unique ID address of each device is the key for the bus master to interpret what parameter a particular 1-Wire instrument is measuring. Several examples of 1-Wire instrumentation for environmental measurement are presented. Note that all circuit examples use a BAT54S dual Schottky diode and input capacitor to provide a local source of power. The remaining Schottky diode in the package is connected across DATA and GND and provides circuit protection by restricting signal excursions that go below ground to about minus four tenths of a volt. Without this diode, negative signal excursions on the bus in excess of six tenths of a volt forward bias the parasitic substrate diode and interfere with the proper functioning of the chip.

Our first example, uses the DS2423 Counter, which has inputs that respond to logic level changes or switch closures making it suitable to implement a variety of tally or rate sensors. A circuit example using magnetically actuated reed switches is shown in Figure 4. In the circuit, an external 1 Meg Ohm pull down resistor is used from the inputs to ground to prevent generating spurious counts during turn-on, and minimize noise pick-up. This circuit with lithium back up was used to build a 1-Wire rain gauge and a hub mounted wheel odometer. In those applications, a small permanent magnet moves past the reed switch each time a tipping bucket fills and empties or the wheel rotates one full turn respectively. This momentarily closes the reed switch, incrementing the counter to indicate .01 inch of rain has fallen or one revolution. The circuit is also used in a 1-Wire weather station to measure wind speed.

Figure 4 The basic DS2423 Counter circuit.

MEASURING HUMIDITY OVER THE 1-WIRE

Humidity is an important factor in many manufacturing operations as well as affecting personal comfort. With the proper sensing element, it can be measured over the 1-Wire net. The sensing element specified here develops a linear voltage versus relative humidity (RH) output that is ratiometric to supply voltage. That is, when the supply voltage varies, the sensor output voltage follows in direct proportion. This requires that the voltage across the sensor element as well as its output voltage be measured. In addition, calculation of True RH requires knowledge of the temperature at the sensing element. Because it contains all the necessary functions to do the calculations, the DS2438, which contains two ADCs and a temperature sensor makes an ideal choice to construct a humidity sensor. In Figure 5, the analog output of the HIH-3610 humidity-sensing element is converted to digital by the main ADC input of a DS2438. In operation, the bus master first has U1, the DS2438, report the supply voltage level on its Vdd pin, which is also the supply voltage for U2, the sensing element. Next, the master has U1 read the output voltage of U2 and report local temperature from its on-chip sensor. Finally, the master calculates true relative humidity from the three parameters supplied by U1.

Figure 5  A humidity sensor using the DS2438.

A 1-WIRE BAROMETER

Barometric pressure is another important meteorological parameter that can be measured over a 1-Wire net using the DS2438. By selecting a ratiometric pressure sensor that contains comprehensive on-chip signal conditioning circuitry the circuit in Figure 6 is very straightforward. This requires that both the output voltage representing atmospheric pressure and the supply voltage across the element be known in order to accurately calculate barometric pressure. Because U2, the MPXA4115 pressure sensor can require as much as 10mA at 5V, an external source of power is needed. Notice that the external power is also connected to the power pin of the DS2438. This allows the DS2438 to measure the supply voltage applied to the pressure-sensing element. Flexible tubing can be routed to sample the outside air pressure and avoid unwanted pressure changes (noise) caused by the opening and closing of doors and windows or elevators moving inside the building.

Figure 6  The 1-Wire barometric pressure sensor.

A WIND DIRECTION SENSOR

While the original 1-Wire weather station used DS2401s to label each of the eight magnetic reed switches in its wind direction sensor, as shown in Figure 7, a single D2450 Quad ADC can perform the same function with five resistors. As the wind rotates the wind vane, a magnet mounted on a tracking rotor opens and closes one (or two) of the reed switches. When a reed switch closes, it changes the voltages seen at the input pins of U1, the DS2450. For example, if the magnet is in a position to close S1 (North), the voltage seen on pin 7 changes from Vcc to 1/2Vcc, or approximately, from 5V to 2.5V. Since all sixteen positions of the wind vane produce unique four-bit signals from the ADC, it is only necessary to indicate North, or equivalently, which direction the wind vane is pointing to initialize the sensor.

Figure 7  A wind direction sensor using the DS2450 Quad ADC.

Because two reed switches are closed when the magnet is midway between them sixteen compass points are indicated with just eight reed switches. Referring to the schematic and position 2 in Table 1, which lists the voltages seen at the ADC inputs for all sixteen cardinal points, observe that when S1 and S2 are closed 3.3 Volts is applied to ADC inputs B and C.  This occurs because pull-up resistors R2 and R3 are placed in parallel and the pair connected in series with R1 to form a voltage divider with .66Vcc across R1. Note that 3.3V is also generated twice more at switch positions 4 and 16.

Table 1 Wind vane position versus the voltage seen at the four DS2450 ADC inputs.

MEASURING SOLAR RADIANCE ON THE 1-WIRE

The amount of sunlight and its duration are additional parameters easily measured with 1-Wire sensors. The amount is a measure of air and sky conditions, while duration is related to the equinoxes and the length of the day. Although the mechanical and optical implementations tend to be complex, the electronics can be easily implemented using a DS2438. Figure 8 illustrates a solar radiance sensor built using a sense resistor connected in series with a photodiode. Light striking the photodiode generates photocurrents that develop a voltage across the sense resistor that in turn is read by the ADC. Optical filters can be added to control both the wavelength and optical bandpass to which the sensor responds.

Figure 8  A Photodiode Solar radiance sensor.

MEASURING A THERMOCOUPLE THE 1-WIRE WAY

It is also possible to measure extreme temperatures using conventional thermocouples (TC) that are directly digitized at the cold junction using a DS2760 multi-function 1-Wire chip. The twisted pair cable of the 1-Wire net serves to cover the distance between the TC and bus master effectively replacing the expensive thermocouple extension cable normally used. Because of its unique ID address multiple smart thermocouples may be arbitrarily placed where needed along the net greatly minimizing the positioning and cost of an installation. With an LSB of 15.625V the chip can directly digitize the millivolt level output produced between the hot and cold junctions of the typical thermocouple as its on-chip temperature sensor continuously monitors the temperature at the cold junction of the TC. And it contains user accessible memory for storage of sensor specific data such as TC type, location and the date it was placed into service which can minimize the probability of error due to the mislabeling of sensors. This allows a DS2760 to be used with any TC type as the bus master’s calculations are based on the stored data and the temperature of the cold junction as reported by the on-chip temperature sensor. The schematic in Figure 9 illustrates both the simplicity and ease with which a DS2760 can be used to convert a standard thermocouple into a smart sensor with multi-drop capability. The addition of R1 allows Vdd to be measured, which is useful in trouble-shooting to verify that the voltage available on the 1-Wire net is within acceptable limits.

Figure 9  Using a DS2760 to read a thermocouple on the 1-Wire net.

# SUMMARY

The development of 1-Wire technology made possible the combination of electronic communication and instrumentation based on positive identification of individual nodes on a single self-powered net. Continued growth of the technology has produced an increasing array of 1-Wire chips able to interface with the environment measuring events, voltage, current, temperature, position, etc. In turn these chips enabled the construction of sensors that measure a host of environmental parameters on a single twisted pair cable as described within this document. Inclusion of ROM, EPROM and EEPROM in 1-Wire slaves packaged in a stainless steel case called an iButton enabled a whole new era of electronic personal authentication. While a new level of personal and data security became available with the creation of SHA-1 based 1-Wire chips that also enabled iButtons for use with monetary transactions. Whether housed in an armored stainless steel iButton or standard IC packages, 1-Wire communication makes use of a non-critical two contact interface. These products have resulted in the commercial use of 1-Wire technology as transportation tokens, identification badges, entry security and after market control with new applications continually being added. Visit http://dbserv.maxim-ic.com/ibutton/solutions/search.cfm to learn more about commercial ventures using 1-Wire technology.